## Slide 1
Use of VOC Sensors for Monitoring IAQ
Thomas Witterseh
IEA Annex68 Expert Meeting
Syracuse, September 8-10 2016

## Slide 2
To evaluate VOC and/or TVOC sensors as a tool for monitoring indoor air quality in dwellings - especially newly renovated dwellings where IAQ is dominated by material emissions
Project Objective

## Slide 3
Research Project funded by GI (The Landowners’ Investment Foundation)
Project period: Autumn 2016 – Autumn 2017 (1 year)
Total budget: Approx. USD 100,000 (DKK 702,000)
GI Funding: USD 50,000 (DKK 350,000)
Project Outline

## Slide 4
Literature (sensor types, experiences)
Market screening
  Based on specifications a limited number of commercially available sensors/instruments are selected for test
Laboratory test (climate chamber)
  Controlled exposure in climate chambers
  Sensor response to selected volatile compounds typically found in indoor air (aldehydes, glycols, alcohols, acids, input from ST1)
Expected Activities – PART 1

## Slide 5
PART 2
Full scale test
  Monitoring of IAQ parameters (including VOC/TVOC, CO2, RH) in single/twin test office setting at DTI
  Comparison of VOC sensor output with results from ‘classic’ sampling (Tenax, DNPH tubes)
Your input welcome
Email: twi@dti.dk
Expected Activities – PART 2